## Project details
Synchrotron device | Project number | Sessions
ESRF, Grenoble, France | LS-2752 | June, July & September 2018
Beamline
ID17 | Biomedical beamline
ID19 | Microtomography beamline
Link to ESRF User reports
https://www.esrf.eu/UsersAndScience/Publications

## 2D radiography
[5 empty] | standing wave tube condition & SPLs |  | image processing
species | specimen number | beamline | view | standard length (mm) | 0° | 180° | reduced to 8 bit | median filter applied | background correction | number of image stacks
Etroplus canarensis | EcJ-2018-1 | ID17 | lateral | 51 | 171.2 |  | yes | yes | yes | 1
Etroplus canarensis | EcJ-2018-4B | ID17 | dorsal | 54 | 162.6; 169.6 |  | yes | yes | yes | 2
Etroplus canarensis | EcJ-2018-5C | ID17 | frontal | 49 |  | 165.5 | yes | yes | yes | 1
Etroplus canarensis | EcS-2018-9 | ID19 | lateral | 48 | 164.3; 170.7; 177.2 | 146.2; 151.1; 155.4 | yes | yes | yes | 6
Etroplus canarensis | EcS-2018-10 | ID19 | dorsal | 59 | 164.3; 170.7; 177.2 | 146.2; 151.1; 155.4 | yes | yes | yes | 6
Etroplus canarensis | EcS-2018-11 | ID19 | frontal | 49 | 164.3; 170.7; 177.2 | 146.2; 151.1; 155.4 | yes | yes | yes | 6
Carassius auratus | CaJ-2018-5 | ID17 | lateral | 59 |  | 150.9 | yes | yes | yes | 1
Carassius auratus | CaJ-2018-8B | ID17 | dorsal | 66 | 162.6; 169.6 |  | yes | yes | yes | 2
Carassius auratus | CaJ-2018-10 | ID19 | dorsal | 56 | 164.3; 170.7; 177.2 | 146.2; 151.1; 155.4 | yes | yes | no | 12
Carassius auratus | CaJ-2018-11 | ID19 | lateral | 50 | 164.3; 170.7; 177.2 | otoliths: 146.2; 151.1; 155.4; Weberian apparatus: 146.2; 155.4; 157.3 | yes | yes | no | 12
legend
0°: maximised sound pressure at the center of the tank by driving the inertial shakers in phase
180°: maximised particle motion at the center of the tank by driving the inertial shakers out of phase at 180°
values in column F and G are given in dB re 1 µPa
J = June/July 2018
S = September 2018
SPL = sound pressure level
stimulus | image acquisition rate (frames/second)
200 Hz pure tone | 98.99 fps (ID17); 198.02 fps (ID19)
file names
e.g.
CaJ-2018-10-Weber_0deg-164p3dB_400to1600 |  |  | means: Carassius auratus measured in June/July 2018, fish no. 10, view of the Weberian apparatus, in phase condition (0°), SPL 164.3 dB re 1 µPa, images chosen from the stack: 400 to 1600
image processing
software used: ImageJ v. 1.52i
raw image format: 32 or 16 bit unsigned
1 | 100-200 raw reference images which had been taken without sound at the same framerate were subjected to "minimum intensity" (ID17) or "average intensity" (ID19) to create one averaged reference image
2 | background correction: stack of raw images subtracted (ID19) or divided (ID17) by the respective averaged reference image
3 | reduction from 32 or 16 bit to 8 bit
4 | application of the 3D median filter with a radius of 2 pixels

## Tomography
species | specimen number | beamline | standard length (mm) | test tank | tested SPLs in dB re 1 µPa | number of stacks
Etroplus canarensis | EcJ-2018-1 | ID17 | 51 | 40 ml tube | no sound | 1
Carassius auratus | CaJ-2018-6 | ID17 | 61 | 40 ml tube | no sound | 3 (overlapping)
CT settings
phase contrast, XPCI
polychromatic beam
70 keV
201 mA
further CT settings extracted from the original log files
EcJ-2018-1 |  | CaJ-2018-6
Energy= 70 |  | Energy= 70
Distance= 10000 |  | Distance= 10000
ScanRange= 180 |  | ScanRange= 180
TOMO_N= 2600 |  | TOMO_N= 2600
REF_ON= 2600 |  | REF_ON= 2600
REF_N= 20 |  | REF_N= 20
DARK_N= 20 |  | DARK_N= 20
Dim_1= 2560 |  | Dim_1= 2560
Dim_2= 1101 |  | Dim_2= 1101
Count_time= 0.05 |  | Count_time= 0.12
Latency_time (s)= 0.002 |  | Latency_time (s)= 0.002
Shutter_time= -1000 |  | Shutter_time= -1000
Col_end= 2559 |  | Col_end= 2559
Col_beg= 0 |  | Col_beg= 0
Row_end= 1650 |  | Row_end= 1650
Row_beg= 550 |  | Row_beg= 550
Optic_used= 6.1 |  | Optic_used= 6.1
PixelSize= 5.71 |  | PixelSize= 5.71
Scan_Type= continuous |  | Scan_Type= continuous
CCD_Mode= FFM |  | CCD_Mode= FFM
SrCurrent= 201.152 |  | SrCurrent= 201.181
CTAngle= 90 |  | CTAngle= 90